Technical Advisory Committee Review

STAR Tracking Upgrade Plan

January 30-31, 2007

Committee members:  M. Cooper (LANL), H. Fenker (JLab), C. Haber (LBNL), V. Radeka (BNL), R. Van Berg (Univ. Pennsylvania)

Also participating:  T. Ludlam (BNL, convener), G. Rai (DOE)

Summary

The STAR Collaboration is proposing an extensive upgrade of its tracking capability, providing precision vertex tracking at  mid-rapidity for direct measurement of displaced vertices from charm and beauty decays, and tracking at forward angles, subtending the End Cap Calorimeter, to determine the charge sign of high-energy electrons from W decays.  Following a review in March 2006 of development efforts then underway for possible detector technologies, the collaboration has focused on designing an optimized scheme that would form a viable basis for a construction effort.  This work has emphasized the development of simulation tools to study the physics capability of possible detector configurations for an integrated system, including the present Time Projection Chamber, and the future capabilities of the upgraded data acquisition system for STAR and the planned RHIC II luminosity.

The specific proposal that has emerged calls for construction of a next-generation micro-vertex detector using a combination of monolithic active pixel sensors (MAPS) and conventional silicon strip technology, and a forward tracking detector based on the emerging gas electron multiplier (GEM) technology.  STAR is aiming for a major R&D investment in these upgrades in FY 2007-2008, and a start of construction in FY 2009.  The overall estimates of cost and schedule presented to the Committee for these upgrades do not differ significantly from those given in BNL’s “Mid-Term Strategic Plan for RHIC”, submitted to DOE in February 2006.

The purpose the present review was to assess whether the detector configuration presented by STAR is indeed optimal for the proposed physics goals, and to provide BNL and DOE with advice on the readiness of the R&D plans, the technical designs, and the cost and schedule estimates for this effort to proceed on the time scale proposed by STAR.  The review agenda is attached as an appendix to this report.

The Committee’s detailed findings, comments and recommendations are presented in the following sections.  We summarize the key outcomes of the review here:

- The Committee finds that the scientific case presented for the tracking upgrades is well established, and that the proposed detector configurations are well motivated technologically.  The collaboration has made a convincing case that compelling physics goals can be achieved with the resources requested.

- Because each is required for a common set of scientific goals, the Heavy Flavor Tracker (HFT) and Intermediate Silicon Tracker (IST) should be combined as a single project.  It appears that the cost of the Forward GEM Tracker (FGT) can be kept below the $2M threshold for designation as a DOE Major Item of Equipment, allowing it to be pursued as a capital equipment project within the RHIC operations budget.  If a more careful analysis bears this out, it may be possible to proceed on a technically-driven schedule that can lead to earlier physics results.

- STAR identified a number of management challenges that resonated in the committee.  The collaboration needs to identify project leaders for three crucial roles.  (a) It would be good if one physics group could take responsibility for the existing Silicon Strip Detector (SSD).  They may draw on dispersed resources from around the collaboration, but it is important for one person to take the coordinating role for this pivotal element of the planned upgrades.  (b) A single project leader needs to be identified for the IST + HFT detectors, and subsystem managers are needed for the two detectors.  (c) A project leader must be identified for the FGT.  Both mechanical and electronic integration engineers should be identified for the overall project.

- The combined IST + HFT project will require the DOE critical decision process.  The first step is CD-0, the establishment of mission need.  STAR should make every effort to prepare a proposal by late spring of this year for submission to DOE in order to obtain first construction funds in FY’09.  This proposal will need to make the physics case in a compelling way.  It will need a reasonable but preliminary management plan, and should establish a reliable cost range.  It will need a schedule that provides the basis for a proposed funding profile.

- The MAPS chip design for the HFT relies critically on the on-going R&D program at IRES, Strasbourg.  This is a broad-based effort that will continue past the point when the design for STAR will have to be frozen to meet the HFT schedule.  The plan for when and how this “freeze point” will be captured must be spelled out as part of the project plan.

Overview of the proposed upgrades

The STAR collaboration presented a coherent plan for determining detached vertices and the interaction vertex for low multiplicity events.  Four systems were discussed: the silicon strip detector (SSD), the heavy flavor tracker (HFT), the intermediate silicon tracker (IST), and the forward GEM tracker (FGT).  The presentations were well constructed and provided the committee with the vast majority of the information needed.  Each detector covered the physics goals, the mechanical and electronics challenges, responsibilities, cost estimates, and schedule proposals. The committee appreciates the effort put forth to present their plans.

The primary motivation for the mid-rapidity tracker is to study heavy quark production in p+p, d+A, and A+A collisions at RHIC. If the flow measured for heavy quarks is found to be the same as for the light quarks, strong evidence would exist that the strongly interacting quark matter produced is in thermodynamic equilibrium. The key to measuring the flow of the heavy quarks is observation of a large ensemble of D0 ( K- + + and charge conjugate events, which are identified by full topological reconstruction that measures the displaced decay vertex as being clearly distinguished from the interaction vertex. The presentations were convincing that the proposed detector would allow for success in understanding this physics.  The committee finds this principal physics goal to be compelling; it justifies the resources requested.

The FGT is designed to probe the flavor dependence of the sea quark polarization from polarized p+p collisions.  The technique utilizes the parity-violating W production and decay to establish the helicity of the antiquark involved in formation of the charged W.  This works because the anti-quark polarization is preserved in the leptonic observables. The crucial step in separating the sea quark properties is distinguishing electrons and positrons at high rapidity. The FGT allows for the proper identification, which should lead to a better determination of the sea quark role in the spin of the nucleon. The committee also finds the physics case for the FGT to be very strong.

The committee sees the refurbishment of the SSD as a relatively small effort that should be started as soon as funding can be made available from the RHIC operations grant.  Its performance goals should be compatible with the full tracking system. The mid-rapidity tracker has a common set of scientific goals that warrant both the IST and HFT to be merged into a single project.  The scientific objectives of the FGT are different from the IST and HFT.  The committee recommends that it be made a separate project. The breakdown into separate projects still requires good integration practices because all these detectors are in very close proximity.

As presented at this review, the plan for the HFT involves an extended R&D phase, followed by implementation of a full detector with MimoSTAR 4 detectors, and finally the implementation of UltraSTAR chips.  The Committee is not convinced that this is the most effective way to complete this project.  As noted in the following section, much depends on the role of the IRES group in this project, and the degree to which the MAPS development in France is driven by the STAR requirements.  These issues will need to be clarified before the scope of this project can be fully defined.

The mid-rapidity tracker has had substantial simulation, but a few important questions remain to be answered.  For example, at this review the overall tracking efficiency was unknown when only two of the three IST + SSD layers are present.  Since the time to accumulate the required statistics is quadratic in the tracking efficiency, it is important to know how the expected detector imperfections will affect the data collection time.  The committee recommends that the simulation of the mid rapidity tracker continue to a higher level of sophistication.

The individual detector discussions cover the need for prototypes in a number of areas.  A vigorous prototyping plan should be put forward.  The committee sees the need to demonstrate the positioning reproducibility of the three cantilevered supports for the HFT and the production of  full quadrant sized GEM foils as the most critical ones.

The project cost estimate appears to have reasonable number of spares as well as acceptable contingency methodology.  Escalation should not be forgotten. As the project proceeds, more rigorous estimates will be expected.

In most cases, the committee viewed the proposed schedules as very success oriented.  There did not seem to be sufficient schedule contingency or time allotted for the DOE funding process.  The schedule is more complicated than shown due to important outside events. Two examples are startup of a RHIC running cycle and the availability of funds during the fiscal year, which is usually in January.  Thus the tight HFT schedule that assumes funds arrive on October 1 of 2009 for the first phase of the HFT to be ready for beam a year later is probably not achievable.  STAR is urged to put more effort into their estimates of the schedules.

The committee believes these detectors can be built on a reasonable schedule and produce exciting physics results.

The Heavy Flavor Tracker

The proposed MAPS technology is at this time the most promising choice for high granularity, low radiation length and low power dissipation vertex tracking in an environment such as RHIC.  The proposed design configuration maximizes the solid angle coverage while keeping the number of detector layers and the area of silicon at a minimum. This is a cutting edge technology and it will be used for the first time on a fairly large scale in a large physics experiment.

The basic sensor cell (pixel), while based on “standard” CMOS process, depends critically on some properties of the process usually not specified by the foundry and not subject to the suggestions/requests of small volume customers. For this device the thickness of the epitaxial layer from which the signal charge is collected is of primary importance.

While the broad based and outstanding R&D program at IRES is commendable,  their developments will be continuing past the point when the design for STAR will have to be frozen to meet the schedule. The plan for when and how this “freeze point” will be captured has not been spelled out.

The mechanical design concept makes use of advanced composite materials. The proposed design is primarily motivated by the desire to make possible installation and removal of the detector in a short time. Design considerations which could provide  some quantitative measure of the position repeatability after reinsertion and stability of the detector components with respect to each other have not been presented.

The project schedule planning is greatly influenced by the limitations in the available manpower and funding, particularly with respect to mechanical engineering. One consequence of this has been that the tests of functionality and performance of the technologically most critical components, the ULTRA-STAR detector/readout and the nesting cantilevered mechanical structure, are planned too close to the desired completion date in 2011. The projected total time for the project might be adequate if some of the design, modeling and demonstration activities take place earlier in the project.

However, given the cutting edge technology, the proposed schedule does not contain sufficient float.

The cost estimate has been made with realistic contingency figures.Given the risks of radiation damage near the beam pipe, allowing for four detector copies of the “final” design is justified.

Recommendations for the HFT

- The project should move rapidly on the mechanical system, by performing modeling of the nesting concept and then building a prototype to demonstrate the repeatability and position stability. Realistic alignment tolerances need to be derived from the track reconstruction requirements.

- STAR ought to make certain that the IRES schedule matches the STAR schedule. By CD1 there will have to be a formal agreement on this. It will be advisable at that point to verify with the IRES’ funding agency, that IRES will be funded for that work throughout the duration of the project.

- It will be advisable to have a closer connection with IRES in the design of the readout architecture (a physicist/engineer from one of the STAR institutions participating in the Design?).

- Power dissipation of the electronics is an important input to the mechanical design both for cooling and thermal deformation. Detailed power estimates (with upper bounds if possible) for both MimoSTAR4 and MimoSTAR Ultra should be provided to the mechanical team as soon as possible.  The schedule for this should be defined.

Some questions for consideration by the HFT team:

Most, if not all, of the design elements required for the MimoSTAR Ultra chip seem to have been tested or at least simulated at Strasbourg - is there a fundamental reason, other than uncertainties in particular process suitability for creating good sensor diodes, for not assembling and prototyping a MimoSTAR Ultra 0 chip (full Ultra architecture but small pixel array) within the next year? If there is a fundamental problem, what is the plan to address that problem?

What are the expected detailed differences between MimoSTAR4 readout and MimoSTAR Ultra readout and how do those two different systems couple to DAQ1000?

Tests of MimoSTAR2 have encountered some problems at the single and two chip level, how soon can one understand whether these problems are inherent in the present chip design or are merely artifacts of the test system?

Is the JTAG control interface for MimoSTAR4 (or MimoSTAR Ultra) planned to be single ended as in the MimoSTAR2 device or is there a plan to go to an LVDS (or similar) differential signaling standard?

A complete ladder test of MimoSTAR4 or MimoSTAR Ultra will provide important verification of cooling, mechanical stability, and readout performance. When is such a test or tests (of the separate issues) planned?

The planned use of Aluminum on Kapton cables reduces the radiation length of the detector. If Aluminum were to prove very difficult to work with what are the physics implications of going to Copper/Kapton cables or other types of laminates?

Air cooling of the detector system(s) (HFT, IST, SSD, and FGT) is a way to keep the radiation length of the detectors as low as possible. However, the power dissipation, especially in the intermediate rapidity region, will be much greater after the proposed upgrade than presently. How soon can a reasonably detailed mechanical analysis be completed to give confidence that there will be adequate space to bring in and exhaust sufficient cooling air (gas?) at reasonable velocities to satisfy the cooling needs of all the proposed detectors and the already existing SSD without introducing any undesirable effects? Is there a temperature control system needed, particularly for the HFT?

Intermediate Silicon Tracker (IST) and Silicon Strip Detector (SSD)

The Intermediate Silicon Tracker (IST) and Silicon Strip Detector (SSD) layers provide crucial tracking functions to link the STAR TPC with the proposed Heavy Flavor Tracker (HFT).  The function, performance specifications, and in the case of IST, the conceptual design and layout, of these devices was presented by the Collaboration.  While a rational case was made for these components, certain questions and concerns remain which should be addressed by the Collaboration.  The Committee does not see any fundamental problem with the ideas and approach proposed but does recognize that certain adjustments may have to be made with not insignificant cost or effort implications.

The SSD is an existing system which lacks a focused effort for operational and scientific support within STAR.  Its perceived value is growing and in fact it is viewed as critical for the HFT era.  A clear and careful assessment of the state of the SSD needs to be made and presented.  Whatever prospects there are for repair, replacement, or resurrection, of bad or otherwise out of specification components needs to be assessed and confronted.  The acceptable performance level (efficiency etc) for the SSD needs to be clearly stated and justified.  After this, if the Collaboration still believes the SSD is needed then Management has to put in place the proper resources to repair and maintain it.

The SSD may not be recoverable or maintainable.  In this case, the Collaboration has to consider and present a back-up plan.  They may choose to remove the SSD and rely only on the two IST layers or they may choose to replace the SSD with a third IST layer around 25 cm in radius.  Track finding and linking performance for these two scenarios should be studied and presented.  If there is a replacement, the case for a particular strip and/or pad geometry should be made.  Obviously a project to build a third IST layer should be closely coupled, in all respects, to IST1 and 2 in order to benefit from the same non-recurrent engineering, component designs, and procurements.  IST3 should not become a separate project.

The technical challenges of designing and building the IST layers are mostly similar to those of other recent projects.  A few points raise concern and the Committee wants to emphasize those to the Collaboration.  The time for development and iteration is rather short so the Collaboration needs to move quickly to assess these technical choices and adopt or replace them so that a proper cost estimate, schedule, and technical (rather than conceptual) design can be made.

- The mechanical support of the ladders is of some concern.  Carbon foam alone may not be nearly rigid enough.  One would expect to clad it with carbon fiber (or other) facings with low elasticity.  This needs to be considered.  The idea of blowing air through channels in the foam is novel.  This may lead to microphonic vibration and excessive thermal gradients.  There may also be substantial thermal resistance from the foam core up to the readout chips which are the main heat source.

- As a general approach, air cooling was shown to work on SSD. For IST the density of ladders is higher in that radial region and that raises additional concern.

- The IST ladders consist of 10-12 sensors in a row.  There are many different element orientations (strips, z, phi, pads).  The readout hybrids may be mounted differently for each and the access by the long readout cables may be complicated. One alternative is to provide clocks and commands to the APV25 in a multi-drop configuration to all chips on a ladder.  Another issue is power distribution.  Additional material reduction may result with serial powering of all the hybrids on a ladder.  This is a technical approach with certain risks but also the focus of much R&D in the LHC community.  How is all this going to be routed?  If the readout cables are placed beneath the sensors (between the sensor and the carbon) they will add to the thermal resistance of the system.  This needs to be considered.

- The choice of Hamamatsu as the sensor vendor is good considering their excellent track record.  The AC coupled pad detector is more complicated than the more common strip design.  The biasing scheme for this has to be worked out and presented.

- The use of kapton hybrids and cables is not without risk.  This technology is attractive for mass reduction and integration.  However, essentially all past projects have had major problems getting kapton circuits to work, although they eventually succeeded.  The major implication is for cost and schedule.  How many iterations are acceptable?  The Collaboration should reduce its exposure by working with vendors having a proven track record for physics instrumentation projects.  The Collaboration should also develop a back-up plan in case the kapton development does not converge soon enough.  A large contingency would be appropriate here.

The Forward GEM Detector

The proposed Forward GEM Tracker system appears to be well matched to the need to determine the charge sign of electrons from W decays in the rapidity range from 1 to 2 units. The demonstrated 70 micron position resolution obtained in existing GEM detectors is more than sufficient to achieve this measurement, making the proposed detector very likely to succeed. The readout uses an existing front-end which has already been proven to work, and the collaboration has an existing healthy relationship with a GEM production facility (Tech-Etch, Inc.) which already produces working GEMs and which is actively improving their production process. The collaborators have demonstrated a thorough understanding of the current limitations of GEM technology and have the tools in place to provide the necessary quality control of parts that go into the final detector.

Because of the availability of components and the relative simplicity of the FGT, it seems quite realistic to achieve its development and construction well before the HFT and IST systems. Its physics reach is independent of these systems. Organizational approaches that would allow the FGT to proceed more quickly than possible for a formal DoE Project would provide valuable physics returns from the planned 500 Gev running in 2009. The aggressive but achievable schedule submitted to the Committee would reach this goal.

While good quality prototype GEM foils have been regularly provided by Tech-Etch, it is likely that the yield of acceptable foils will go down as their size is increased. Therefore the Committee recommends that large size GEM foils be procured and tested at an early date so that a realistic estimate of the yield can be made, and so that unanticipated technical problems related to the size of the GEMs can be identified and dealt with.

Associated upgrades of the GEM measuring and testing hardware may be required to accommodate this increase in size.

A draft of the final charge-collection strip layout should be developed promptly. Details of the strip length and the r-phi geometry were not provided. These will be affected particularly by the choice of radial subdivisions within a quarter-disc module, and will impact the strip capacitance, signal routing, and readout chip placement. The width of phi-measuring strips and the distance between them will presumably vary with radius and could lead to a radial dependence of the resolution.  It would be wise to identify critical areas in the design at an early stage. It would be especially interesting to understand the signal routing for those strips that do not terminate on a quadrant boundary.

This layout may also have an impact on the possibility that signals will be degraded by coupling to the nearby control, clock, and readout lines servicing the APV-25 chips. Particularly if the chips and digital lines are to reside on the same (multilayer) PC  board that carries the  readout strip material, this board may be difficult to engineer and fabricate.

The Committee suggests that a prototype detector which incorporates a readout board representing a realistic sub-section of the final board be fabricated and tested as soon as practical. APV-25 chips, logic, power, and readout lines should appear on the board similar to the way they would appear on the final board.  Consideration should be given to the way in which high voltages are supplied to the drift electrodes and GEMs, if these have any impact on the board layout.

As indicated in the presentations, no conceptual design yet exists for the routing of cables and gas to the FGT. Cooling air for the FGT electronics and for the mid-rapidity tracking systems must also be routed through the FGT support cone. High-voltage isolation from the TPC inner field cage must be assured.  These considerations may well lead to rearrangement of the FGT disk layout and result in changes in acceptance. An early engineering study of how to satisfy these requirements should proceed at least to the level required to assess the possible impact on detector system performance.

Appendix

Technical Advisory Committee Review

STAR Tracking Upgrade Plan

January 30-31, 2007

Room 2-160, BNL Physics Dept.

Agenda

Tuesday, Jan. 30

| 8:30 – 9:00 | Executive Session |  |
| --- | --- | --- |
| 9:00 – 9:45 | Overview: Physics motivation Optimization process; proposed configuration SSD status and perspective | T. Hallman (20+10) H. Matis (10+5) |
| 9:45-10:25 | Mid-Rapidity Tracking | J. Thomas (30+10) |
| 10:25-10:45 | Mechanical progress on the Heavy Flavor Tracker (HFT) | H. Wieman (15+5) |
| 10:45-11:05 | Progress on Monolithic APS & associated electronics | M. Szelesniak (15+5) |
| 11:05-11:20 | Coffee Break |  |
| 11:20-11:50 | Intermediate Silicon Tracker design | M. Miller (20+10) |
| 11:50-12:50 | Technical implementation, cost, schedule, and R&D plan for Mid-Rapidity Tracking upgrade | B. Surrow (15+10) J. Thomas (25+10) |
| 12:50-2:00 | Committee Working Lunch |  |
| 2:00 – 2:30 | Forward Tracking Upgrade: Physics Motivation | E. Sichtermann (20+10) |
| 2:30 – 3:00 | GEM progress; optimized configuration | F. Simon (20+10) |
| 3:00 – 3:30 | Forward Tracking cost, schedule, R&D plan | B. Surrow (20+10) |
| 3:30 – 3:40 | Coffee Break |  |
| 3:40 – 4:20 | Mechanical integration of tracking upgrades | J. Kelsey (30+10) |
| 4:20 – 4:30 | Project summary | T. Hallman |
| 4:30 – 6:00 | Executive Session |  |
| 7:00 | Dinner at local restaurant |  |

Wednesday, Jan. 31

| 8:30 – 9:00 | Executive Session |  |
| --- | --- | --- |
| 9:00 -10:00 | Follow-up meetings with STAR |  |
| 10:00-12:00 | Committee: report preparation |  |
| 12:00-1:00 | Committee Working Lunch |  |
| 1:00 – 2:00 | Committee: report preparation |  |
| 2:00 – 2:30 | Close-out |  |
| 2:30 | Adjourn |  |