## Slide 1: Mass termination board (MTBv2.0) full power test
Outline:
Test setup
Power consumption
Single ladder vs. full power test
Summary

## Slide 2: Test setup (1)
Production ladder power consumption:
  ~2 A => ~1.3 A VDA + ~0.7 A VDD
Ladder emulation:
  V_analog 3.3V @ 2.2  + 0.2 
  V_digital 3.3V @ 4.7 
0.2 
2.2 
GND
VDA
sense

## Slide 3: Test setup (2)
1 PXL production ladder
+ 3 “ladders” (resistors)
MTBv2.0
RDO
(Xilinx)

## Slide 4: Single ladder vs. full power test - noise

## Slide 5: Single ladder vs. full power test - FPN

## Slide 6: Single ladder vs. full power test - offset

## Slide 7: Summary
No discernible difference between single ladder tests and full current load tests (@ 8A)
Ladder performance tested using our new MTBv2.0 board is stable under low and high current load conditions
This performance will be validated with a full sector test